## Sheet1
EPW | Scenario | Desc | Wall_Alpha | Wall_Eps | Wall_Lambda_WmK | Roof_Alpha | Roof_Eps | Roof_Lambda_WmK | Total_Cooling_Energy_kWh | Total_Heating_Energy_kWh | Total_HVAC_Energy_kWh | Total_Cooling_MJ_per_m2 | Total_Heating_MJ_per_m2 | Total_HVAC_MJ_per_m2 | Daily_HVAC_kWh_per_m2 | Floor_Area_m2 | Peak_Cooling_Load_kW | Peak_Heating_Load_kW | Simulation_Days | Sampling_Scale | Raw_Total_Hours | Raw_Total_Cooling_Energy_kWh | Raw_Total_Heating_Energy_kWh | Raw_Total_HVAC_Energy_kWh | Delta_Energy_kWh | Saving_%
Dwc | 对比基准 | 默认建筑材料（墙α≈0.6, ε≈0.9；屋面α≈0.7, ε≈0.9） | 0.6 | 0.9 | 0.6 | 0.7 | 0.9 | 0.2 | 234.0083 | 28489.5088 | 28723.5171 | 8.4243 | 1025.6223 | 1034.0466 | 2.3804 | 100 | 1.6467 | 8.0773 | 120.6667 | 1 | 2896 | 234.0083 | 28489.5088 | 28723.5171 | 0 | 0
Dwc | 辐射制冷 | 高反射、高发射率材料（如 α=0.1, ε=0.95） | 0.1 | 0.95 | 0.6 | 0.1 | 0.95 | 0.2 | 0.9582 | 30603.6863 | 30604.6445 | 0.034495 | 1101.7327 | 1101.7672 | 2.5363 | 100 | 0.1889 | 8.0968 | 120.6667 | 1 | 2896 | 0.9582 | 30603.6863 | 30604.6445 | 1881.1274 | -6.5491
Dwc | 辐射制热/保温 | 高吸收、高发射率材料（如 α=0.9, ε=0.95） | 0.9 | 0.95 | 0.6 | 0.9 | 0.95 | 0.2 | 480.9347 | 27460.3892 | 27941.3239 | 17.3137 | 988.574 | 1005.8877 | 2.3156 | 100 | 2.2241 | 8.0968 | 120.6667 | 1 | 2896 | 480.9347 | 27460.3892 | 27941.3239 | -782.1932 | 2.7232