## Sheet1
EPW | Scenario | Desc | Wall_Alpha | Wall_Eps | Wall_Lambda_WmK | Roof_Alpha | Roof_Eps | Roof_Lambda_WmK | Total_Cooling_Energy_kWh | Total_Heating_Energy_kWh | Total_HVAC_Energy_kWh | Total_Cooling_MJ_per_m2 | Total_Heating_MJ_per_m2 | Total_HVAC_MJ_per_m2 | Daily_HVAC_kWh_per_m2 | Floor_Area_m2 | Peak_Cooling_Load_kW | Peak_Heating_Load_kW | Simulation_Days | Sampling_Scale | Raw_Total_Hours | Raw_Total_Cooling_Energy_kWh | Raw_Total_Heating_Energy_kWh | Raw_Total_HVAC_Energy_kWh | Delta_Energy_kWh | Saving_%
Taiwan Province | 对比基准 | 默认建筑材料（墙α≈0.6, ε≈0.9；屋面α≈0.7, ε≈0.9） | 0.6 | 0.9 | 0.6 | 0.7 | 0.9 | 0.2 | 2846.1569 | 8.5077 | 2854.6647 | 102.4617 | 0.30628 | 102.7679 | 0.23657 | 100 | 2.1102 | 0.53915 | 120.6667 | 1 | 2896 | 2846.1569 | 8.5077 | 2854.6647 | 0 | 0
Taiwan Province | 辐射制冷 | 高反射、高发射率材料（如 α=0.1, ε=0.95） | 0.1 | 0.95 | 0.6 | 0.1 | 0.95 | 0.2 | 2233.4201 | 8.8339 | 2242.254 | 80.4031 | 0.31802 | 80.7211 | 0.18582 | 100 | 1.6262 | 0.54174 | 120.6667 | 1 | 2896 | 2233.4201 | 8.8339 | 2242.254 | -612.4107 | 21.453
Taiwan Province | 辐射制热/保温 | 高吸收、高发射率材料（如 α=0.9, ε=0.95） | 0.9 | 0.95 | 0.6 | 0.9 | 0.95 | 0.2 | 3166.608 | 8.5909 | 3175.1989 | 113.9979 | 0.30927 | 114.3072 | 0.26314 | 100 | 2.5602 | 0.54174 | 120.6667 | 1 | 2896 | 3166.608 | 8.5909 | 3175.1989 | 320.5343 | -11.2284